Tom, here are the questions you posed to the active duty military.

Below are their answers.

Thanks!

McHugh

QUESTIONS:

1.  What are the state's military bases currently using for power generation
and space heating

2.  Do they have their own generation equipment and gas supply contracts

3.  Would they buy gas off an instate line 10 years from now if they knew it
was coming

US Army Alaska (USARAK) operates Fort Wainwright and Fort Greely.

Answers:

- Coal to steam

- We provide all of the heat to the installation and most of the time all
the power.  We can get power from GVEA if needed but at higher costs. The few areas that use fuel oil for heating are outlying areas, the rest of the post is heated by coal.  The one housing area using gas has a contract.  We have a contract for coal, which will soon be re-advertized. Our utilities have been privatized so we don't own them anymore.

- If we had the choice today between gas or coal we would stay with coal
given current prices.  Initial estimates show that our utility bill will increase approximately $4 to $5 million each year if we went to 100% gas as our source of fuel to heat the installation. One of our housing projects uses gas for heating from the local gas distributor, making those houses the most expensive housing on Fort Wainwright to heat.  For strategic purposes we must keep the discussions open regarding gas due to the ever increasing pressure of the regulators to make coal more expensive.

US Air Force Alaska operates Joint Base Elmendorf-Richardson (JBER) and Eielson Air Force Base.

Answers:

- Eielson = Eielson operates a co-generation (heat and electricity) coal-fired plant which referred to as the "chip" - CHPP (central heat and power plant).

JBER = POWER:  Electricity is provided to JBER from Anchorage Municipal Light and Power.  Once Landfill Gas Plant is in full operation(Jan 2013 estimated) part of our electricity will come from Doyon (local UP provider for JBER ~ Richardson) and the rest will be purchased from Anchorage Municipal Light and Power.

JBER = HEAT: JBER is heated via distributed Natural Gas that is purchased through a commodities contract with Enstar Natural Gas (Local NG Supplier).

- Eielson = 354 Civil Engineer Squadron operates and maintains the CHPP.  The CHPP is located on Eielson AFB along with all of the associated utilities.  The heat and electrical loads are created on base.  Eielson does not take care of any demand off base.

JBER = Both natural gas and electricity commodities are furnished via Contracts with Enstar and Anchorage Municipal Light and Power respectively.

- Cannot speculate on this question. No answer.