## Slide 1
System Improvements on
the Western Kenai Peninsula

## Slide 2: Transmission Line Upgrades
Re-Conductored the 115 kV transmission line connecting the Nikiski Power Plant (NCC) to the Bernice Lake substation for increased line capacity.
Upgraded the transmission line connecting NCC to HEA’s Soldotna substation from 69kV to 115kV. Upgrade created a fully-looped transmission system (i.e. improved reliability) to HEA’s power plants and industrial members.
Installed a 3-way switch at Beaver Creek Substation
Significant re-clearing of Soldotna/Quartz ROW

## Slide 3: New 115kV Transmission Substations
Tesoro Substation
Diamond Ridge Substation

## Slide 4: Bernice Lake Substation
September 2013
October 2010

## Slide 5: New 115kV Transmission Substations
Sterling Substation
Soldotna Substation (Improved)

## Slide 6: Beaver Creek to Soldotna T-Line Upgrade

## Slide 7: Open Access Transmission Tariff
HEA filed an OATT in the Fall of 2013
This docket is still open
Provides non-discriminatory access to all potential users
Tariff is cost-based
Compensation is Based upon Capacity Reserved as a % of Total
Provides Equal Access to IPP’s, Utilities, and Industrial Producers

## Slide 8: Railbelt TRANSCO
Initially met with American Transmission Company (ATC) in Kenai last spring.
HEA recently toured ATC’s facility in Milwaukee and met with key executives.
Reviewed options/costs/benefits of a Railbelt TRANSCO
Discussed differences between TRANSCO/ISO/RTO

## Slide 9: Railbelt TRANSCO (cont.)
HEA believes a TRANSCO would bring benefits to the Alaskan Railbelt, provided the TRANSCO’s objectives
  Independent operator (non-generator) of transmission system
  Maintains transmission assets
  Postage stamp rates
  Impartial facilitator for generation & reliability issues
  RCA rate regulated
  Voluntary energy market (power exchange)
  Transmission system planning
  Facilitate future transmission investments
  Board of Directors consists of utility and non-utility stakeholders
  Dispatcher of state owned assets

## Slide 10: Questions
Soldotna Combustion Turbine Plant